|  |
| --- |
| **Customer** |
|  |  |  |  |  |  |
| Country | Name | Road | Nr | ZIP code | City |

|  |  |  |
| --- | --- | --- |
| **Settings** | **Factory settings** | **Installation settings** |
|  |
| **1 – TOTAL** |
| 11 Unit | L |  |
| 12 Decimals | 0000000 |  |
| 13 K-Factor | 1 |  |
| 14 Decimals K-Factor | 0 |  |
| **2 – FLOW RATE** |
| 21 Unit | L |  |
| 22 Time | /min |  |
| 23 Decimals | 0000000 |  |
| 24 K-Factor | 1 |  |
| 25 Decimals K-Factor | 0 |  |
| 26 Calculation | PLS 10 |  |
| 27 Cut Off | 30.0 |  |
| **3 – Alarm** |
| 31 Flowzero | Ignore  |  |
| 32 Alarm Value Low-Low | 0 |  |
| 33 Alarm Value Low | 0 |  |
| 34 Alarm Value High | 0 |  |
| 35 Alarm Value High-High | 0 |  |
| 36 Delay Time Alarm Low-Low | 0.0 |  |
| 37 Delay Time Alarm Low | 0.0 |  |
| 38 Delay Time Alarm High | 0.0 |  |
| 39 Delay Time Alarm High-High | 0.0 |  |
| **4 – DISPLAY** |
| 41 Function | Total |  |
| 42 Alarm Set | Operate |  |
| 43 Light | 100% |  |
| 44 bl Alarm | off |  |
| **5 – POWER MANAGEMENT** |
| 51 LCD new | 1 sec. |  |
| 52 Battery Mode | Operate |  |
| **6 – FLOWMETER** |
| 61 Signal | Coil-lo |  |
| **7 – ANALOG OUTPUT** |
| 71 Output | Disable  |  |
| 72 Rate min. | 0 |  |
| 73 Rate max. | 99999 |  |
| 74 Cut Off | PERC. 0.0 |  |
| 75 Tune min. | 160 |  |
| 76 Tune max. | 6656 |  |
| 77 Filter | 1 |  |
| **8 – PULSE OUTPUT** |
| 81 Relay 1 | Off  |  |
| 82 Relay 2 | Off |  |
| 83 Relay 3 | Off |  |
| 84 Relay 4 | Off |  |
| 85 Width | 0.000 |  |
| 86 Decimals | 0000000 |  |
| 87 Amount | 1000 |  |
| **9 – COMMUNICATION** |
| 91 Speed | 9600 |  |
| 92 Address | 1 |  |
| 93 Mode | BUS-RTU |  |
| **A – OTHERS** |
| A1 Model | F113-P |  |
| A2 Software Version |  |  |
| A3 Serial No. |  |  |
| A4 Password | 0000 |  |
| A5 Tag-Nr. | 0000000 |  |
| **Jumper-Setting** | Int. / 3,2V |  |

|  |  |
| --- | --- |
| **Flow Meter** | **Valve** |
|  |  |  |  |
| Type | Serial Nr. | Type | Serial Nr. |

|  |
| --- |
| **Remarks** |
|  |
| Engineers Name:  |  | Date: |  |